# Scope

## Scope

This procedure establishes requirements for assembly of the module assembly jig alignment prior to module assembly.

## Applicability

### Applicability

This procedure applies to the set-up of all module assembly jigs by the Indiana and Duke Production Facilities.

### Relation to Other ATLAS Project Requirements

The assembly procedure described by this specification is in addition to other tests and inspections required for module assembly. Module assembly may begin only after acceptable results from this assembly.

# Applicable Documents

## Document List

The following documents of the issue in effect on the effective date of this specification form a part of this specification to the extent specified herein.

### ATL-IT-EY-0004, ATLAS U.S. Environmental, Health, and Safety Plan

## Amendments and Revisions

Whenever this procedure is amended or revised subsequent to its effective date, the Revised Version will be placed in the Engineering Data Management System, the Production DataBase displays, and released to the technicians.  The Production Engineers will coordinate release to the technicians.

# Requirements

## Background

After the wires are all strung, the crack between the tension plate and the HV plate collar is filled to fasten and seal the two together.  Each taper pin is also sealed to help anchor the wire as well as block any small gas leaks there.

Appendix A provides a checklist to be used by Technicians performing this procedure.

# Preparation for Delivery

### Storage, Packing , and Shipping Requirements

There are no storage, packing, and shipping requirements applicable to this procedure.

# Environment, Health, and Safety (EH&S)

### EH&S Invoked

This test requires mixing and application of glues that may be subject to special handling appropriate to materials that could involve health hazards. Technicians performing this test must follow the ATLAS U.S. EH&S procedures for glue use and application as described by reference 2.1.1 above.

# References

## ATLITB1_0018, Module 1 Tension Plate Subassembly

## ATLITB2_0018, Module 2 Tension Plate Subassembly

## ATLITB3_0018, Module 3 Tension Plate Subassembly

Appendix A

Table Name:	tblChecklistSealTensionPlates

Step	Check List Steps

1	Scan the "Assembly Procedure for Sealing Tension Plates"  Product ID Barcode.

2	Start at the FRONT of the module and tilt the module to a 45 degree angle.  Enter "Done".

3	Use standard mixing procedure for mixing sealing glue AY103.  Transfer the glue to a 1 ml syringe with a blue 1-inch needle.  Weigh the syringe and it's glue and enter the weight in grams.

4	Let the glue stand for 45 minutes minimum set time until desired thickness is obtained.  Enter "Done".

5	Fill the crack between the tension plate and the HV plate.  A critical area is by the kapton feed.  Don't let the glue get on the kapton; the seal is made to the fiberglass layer.  Enter "Done".

6	Ensure the glue does not pool in the acute corners. Tip the module assembly to a vertical position with the glued end

up.  Wait 1 1/2 hours.   Enter "Done".

7	Weigh the syringe and it's remaining glue.  Enter the weight in grams.

8	If you have not yet filled the crack between the tension plate and the BACK HV plate, move to the BACK of the module, tilt to a 45-degree angle, and enter "Repeat".  Otherwise enter "Done".

9	Visually inspect the glue beads every 5-10 minutes until they set.  Now move to the FRONT of the module.  Enter "Done".

10	Route the ground wire around the edge of the HV plate extension.  Enter "Done".

11	Scrape off a small area of solder mask (green area) near the closest pair of ASDBLR ground pin sockets.  Enter

"Done".

12	Run the ground wire over to the exposed ground plane and tape down.  Apply conductive glue to join the ground wire to the ground plane.  Cut off excess wire.  Enter "Done".

13	If you have not performed the above steps for the BACK of the module, move to the BACK and do so now by entering

"Repeat".  Otherwise enter "Done".

14	Weigh the syringe and it's remaining glue. Enter the weight in grams.

15	Visually inspect the conductive glue every 5-10 minutes to ensure it does not break loose.  Enter "Done".

16	Use the standard mixing procedure for Stycast 1266.  Transfer the glue into a 1-ml syringe and attach a blue 1-inch

needle.  Enter "Done".

17	Weigh the syringe and glue and enter the weight in grams.

18	Put a drop of glue on each joint between taper pins/eyelet.  Glue should wick around the circle.  If needed use the tip of the needle to assist the wicking.  Enter "Done".

19	If you have not performed the above step for the FRONT end of the module,  move to the FRONT and enter "Repeat" .  Otherwise enter "Done".

20  Enter "Save" to save data and exit form. Otherwise enter "Cancel" to exit without saving.

Assembly Procedure for Sealing Tension Plates Product ID Barcode

Procedure Part Number

# Text boxes

Approvals

| Name | Signature | Revision | Date |
| --- | --- | --- | --- |
| J.Callahan |  | A |  |
| D.Rust |  | A |  |
| C. Wang |  | A |  |