## Sheet1
Actions |  | Description
Leave in place |  | Leave wire despite high gain variation
remove |  | Remove wire without replacement
replace |  | Remove wire and replace
To be strung |  | No wire - string at CERN, empty straw
review with MGM |  | Leave wire in place for remap with MGM
Quality circle date: |  | 2003-08-25
Module | Straw | F/B | Gain varn | Comment | Rec. Action | Quality Circle
M2.02 | 91 | F | - | Bad socket | replace socket | replace socket
M2.02 | 243 | F | - | short across wire joint | restring | restring
M2.02 | 243 | B | - | short across wire joint | restring | restring
M2.02 | 292 | F | - | wire stuck inside | none | none
M2.02 | 292 | B | - | wire stuck inside | none | none
M2.02 | 425 | F | - | short across wire joint | restring | restring
M2.02 | 425 | B | - | short across wire joint | restring | restring
M2.02 | 474 | F | - | open btwn eyelet & socket | none | none
M2.02 | 104 | F | 9.2% | Hung Wire | replace | replace
M2.02 | 72 | F | 10.4% | Hung Wire | replace | replace
M2.02 | 291 | F | 10.4% | low gain point | none | none
M2.02 | 425 | F | 35.8% | bad data | review with MGM | replace
M2.02 | 428 | F | 11.7% | low gain point | none | none
M2.02 | 445 | F | 12.3% | Hung Wire | replace | replace
M2.02 | 36 | B | 18.1% | low gain point | none | none
M2.02 | 205 | B | 8.8% | Hung Wire | replace | replace
M2.02 | 419 | B | 27% | low gain point | none | none

## g202_sum
half,istraw,ratio,rms | = | Front | 64 | 7.019 | 1.785
half,istraw,ratio,rms | = | Front | 104 | 9.196 | 8.651
half,istraw,ratio,rms | = | Front | 72 | 10.39 | 6.253
half,istraw,ratio,rms | = | Front | 120 | 5.54 | 3.63
half,istraw,ratio,rms | = | Front | 125 | 7.579 | 2.475
half,istraw,ratio,rms | = | Front | 291 | 10.36 | 2.379
half,istraw,ratio,rms | = | Front | 334 | 5.077 | 1.635
half,istraw,ratio,rms | = | Front | 381 | 6.639 | 4.945
half,istraw,ratio,rms | = | Front | 425 | 35.825 | 25.922
half,istraw,ratio,rms | = | Front | 451 | 5.029 | 2.574
half,istraw,ratio,rms | = | Front | 428 | 11.72 | 4.235
half,istraw,ratio,rms | = | Front | 445 | 12.279 | 8.954
half,istraw,ratio,rms | = | Back | 33 | 6.215 | 4.415
half,istraw,ratio,rms | = | Back | 36 | 18.081 | 7.66
half,istraw,ratio,rms | = | Back | 60 | 5.17 | 2.211
half,istraw,ratio,rms | = | Back | 120 | 7.143 | 4.003
half,istraw,ratio,rms | = | Back | 155 | 5.884 | 3.225
half,istraw,ratio,rms | = | Back | 205 | 8.844 | 5.458
half,istraw,ratio,rms | = | Back | 291 | 6.363 | 2.446
half,istraw,ratio,rms | = | Back | 250 | 7.565 | 5.594
half,istraw,ratio,rms | = | Back | 283 | 7.543 | 2.671
half,istraw,ratio,rms | = | Back | 419 | 27.028 | 25.572
half,istraw,ratio,rms | = | Back | 478 | 7.195 | 3.841
Front side : No Signal straw
91 243 292 474
Back side : No Signal straw
292 425
Front side : 5.0% to 6.0%
120 334 451
Front side : 6.0% to 7.0%
381
Front side : 7.0% to 8.0%
64 125
Front side : 8.0% and above
104 72 291 425 428 445
Front side : 5.0% to 6.0% + rms cut
120 451
Front side : 6.0% to 7.0% + rms cut
381
Front side : 7.0% to 8.0% +rms cyt
125
Front side : 8.0% and above + rms cut
104 72 291 425 428 445
Back side : 5.0% to 6.0%
60 155
Back side : 6.0% to 7.0%
33 291
Back side : 7.0% to 8.0%
120 250 283 478
Back side : 8.0% and above
36 205 419
Back side : 5.0% to 6.0% + rms cut
60 155
Back side : 6.0% to 7.0% + rms cut
33 291
Back side : 7.0% to 8.0% +rms cut
120 250 283 478
Back side : 8.0% and above + rms cut
36 205 419