## Sheet1
Actions |  | Description
Leave in place |  | Leave wire despite high gain variation
remove |  | Remove wire without replacement
replace |  | Remove wire and replace
To be strung |  | No wire - string at CERN, empty straw
review with MGM |  | Leave wire in place for remap with MGM
Quality circle date: |  | 2003-09-22
Module | Straw | F/B | Gain varn | RMS | Comment | Rec. Action | Quality Circle
M2.23 | 498 | F/B | - |  | dead - straw leak - plugged | leave alone | leave alone
M2.23 | 284 | F/B | - |  | dead - wire joint stuck inside | leave alone | leave alone
M2.23 | 358 | F/B | - |  | dead-failed HV | To be strung | To be strung
M2.23 | 120 | F/B | - |  | dead - failed HV | To be strung | To be strung
M2.23 | 429 | F/B |  | - | dead-hung wire failed HV | To be strung | To be strung
M2.23 | 314 | F/B |  |  | dead-hung wire failed HV | To be strung | To be strung
M2.23 | 82 | F/B |  |  | dead - failed HV | To be strung | To be strung
M2.23 | 79 | F/B |  |  | wire shorted across wire joint | replace | replace
M2.23 | 246 | F |  |  | low gain - misplaced wire joint | replace | replace
M2.23 | 79 | B |  |  | low gain - misplaced wire joint | replace | replace
M2.23 | 299 | F | 11.2% | 3.2 | low gain point | leave in place | leave in place
M2.23 | 204 | B | 8.1% | 5.3 | Bent straw | remove | remove