## Sheet1
Actions |  | Description
Leave in place |  | Leave wire despite high gain variation
remove |  | Remove wire without replacement
replace |  | Remove wire and replace
To be strung |  | No wire - string at CERN, empty straw
review with MGM |  | Leave wire in place for remap with MGM
Quality circle date: |  | 2003-11-03
Module | Straw | F/B | Gain varn | RMS | Comment | Rec. Action | Quality Circle
M2.36 | 60 | F | 8.2% | 4.02 | low gain point | remove | remove
M2.36 | 60 | B | 8.2% | 3.91 | Bent Straw | remove | remove
M2.36 | 226 | F | 4% | 2.55 | displaced Wire joint | replace | replace
M2.36 | 501 | F | 9.4% | 4.7 | Bent Straw | remove | remove
M2.36 | 333 | B | 1.9% | 0.62 | displaced Wire joint | replace | replace